ACS Alarm System
A. Caproniac
a. ESO, European Organization for Astronomical Research in the Southern Hemisphere
b. CERN, European Organization for Nuclear Research
c. INAF-OATs, Osservatorio Astronomico di Trieste
d. COSYLAB, Control System Laboratory

---
Alarm System
The AS collects information from the environment and shows to the user what’s happening and possibly how to fix an abnormal situation in a short time.
shows only the relevant alarms (can show all the active alarms)
has the concept of authorized users
doesn’t take any action to fix a problem
alarm must be acknowledged
stores the alarms in the database

---
ACS Alarm system
2 available implementations:
ACS
CERN
ACS implementation is used if:
CBD/Alarms folder does not exist
Implementation property not set to “CERN” in the CDB
ACS implementation logs a message for each alarm (active/inactive):
Alarm sent: <AlarmSource,ALARM_SOURCE_MOUNTCPP,1> ACTIVE
Alarm sent: <AlarmSource,ALARM_SOURCE_MOUNTCPP,1> TERMINATE
Log level Alert/Emergency

---
ACS Alarm system
CERN implementation consists of the alarm system developed at CERN for the LHA collider integrated with ACS.
We have:
a working prototype
an agreement with CERN
the new version of the source code
The CERN implementation is part of ACS (need to be explicitly activated)
Things can change and they’ll do!
Hopefully not the interfaces.

---
Large Hadron Collider Alarm Service (LASER)
LASER is the second generation alarm service developed at CERN for the Large Hadron Collider.
It is a messaging system: collects, stores, manages and distributes information about abnormal situations: the Fault States.
Each Fault State (FS) is identified by a triplet:
FS = <FF,FM,FC>
the Fault Family (FF) groups elements of the same kind
the Fault Member (FM) represents the failing instance
the Fault Code (FC) identifies the particular problem
A Fault State can be active or inactive

---
FaultState (triplet) - 1
FS = <FF, FM, FC>
FF groups similar equipments (sw/hw) for example Antenna(s), ACS components
FM identifies which particular equipment in the family is failing (for example Antenna3, MOUNT_3 component)
FC is an integer identifying the particular problem occurring in the failing equipment
It has a status, active ↔ inactive
It has an heartbeat
The FS is a unique identifier! → One triplet per each possible alarm!

---
FaultState (triplet) - 2
<FaultFamily, FaultMember, FaultCode>
Set of equipments of the same type
Equipment of the set
Specific failure
Examples:
<MOUNT, MOUNT_1, 100> (ACS component)
<ANTENNA, ANTENNA7, 200> (Hardware equipment)
<kernelModule, pcnet32@host, 1> (kernel module)

---
FaultState (triplet) -3
<Fault Family, Fault Member, Fault Code>
String
String
Integer
The definition of a FS is whatever you prefer!
meaningful (maintenance, readability…)
unique (it is an ID!)
it says who, where and how something is failing

---
LASER - Overview

---
LASER – Resource tier
The resource tier is composed of sources of alarms:
different programming languages (java, C, C++)
different platforms
each source has a definite set of FS whose state can be active/inactive
each source sends an heartbeat to the service
categories of alarms
LASER-source API:
allows the sources to send alarms to the business tier
no need of specific knowledge of the alarm service

---
LASER – An example
String faultFamily=”PowerSupplies”;
String faultMember=”PS3”;
int faultCode=100;
String faultState=FaultState.ACTIVE;
AlarmSystemInterface alarmSource =
AlarmSystemInterfaceFactory.createSource(this.name());
FaultState fs = AlarmSystemInterfaceFactory.createFaultState(
faultFamily, faultMember, faultCode);
fs.setDescriptor(faultState);
fs.setUserTimestamp(new Timestamp(System.currentTimeMillis()));
Properties props = new Properties();
props.setProperty(...);
...
fs.setUserProperties(props);
alarmSource.push(fs);

---
LASER- Business tier
listen for FS changes and heartbeats
build a complete view of each alarm
reduces or masks alarms depending of:
the status of the system
the knowledge of the environment
persist the FS
track and archive the FS changes
authenticate user of the clients
allow the management of the FS without stopping the service
publish alarms to the clients

---
LASER - Alarm informations
System name
Identifier of the system
Description of the alarm
The cause of the alarm
The action to fix the problem
The consequence of the alarm
The priority of the alarm (4 priorities)
The URL with detailed information
A phone number to call
The location of the source
The name/ID of the responsible person

---
LASER - Reduction rules
The reduction aims to help the user to easily identify the root cause of a cascade of alarms.
The service has a knowledge of the environment by means of a set of reduction rules.
Node reduction (NR)
If a failure in the equipment A triggers a failure in another equipment, B, then the latter is reduced.
Multiplicity reduction (MR)
If the number of alarms of the same type is greater then a given threshold then these alarms are reduced and a new alarm is produced

---
Node reduction

---
Multiplicity reduction

---
LASER – Client tier
Composed of java applications that consume the data produced by the business tier.
alarm console
definition console
login and configuration facilities
There is no need to stop the alarm service while administering the system.

---
Operator GUI

---
Communications between the tiers
The communication between the tiers happens by means of JMS.
JMS implementation of ACS sends messages through NCs
It is possible to write clients that listen to the NC and take actions independently of the Alarm Service

---
ACS LASER structure
E1
E2
E3
E4
E5
AS
Source1
Source2
ClientACS

---
BACI properties
< FF=”BACIProperty”, FM=property_name, FC=1 >
This feature must be explicitly enabled by the user changing the value of alarm_timer_trig in the CDB entry of the property.
An alarm is sent when the value of a property become lower then the minimum or higher then the maximum. The min and max possible values of a property are defined in the CDB.
Besides the alarm_timer_trig, the methods startPropertiesMonitoring() and stopPropertiesMonitoring() of CharacteristicComponentImpl allow the developers to enable/disable the monitoring of the properties.
The CDB must be configured in order to see BACI alarms in the GUI.

---
Sending alarms in C++
C++ API mirrors the Java API
Integrated with BACI (i.e. CharacteristicComponent) properties
Libraries to add to the Makefile:
  - acsAlSysSource
  - acsErrTypeAlarmSourceFactory

---
Sending alarms in C++: how to program
// constants we will use when creating the fault
string family = "AlarmSource";
string member = "ALARM_SOURCE_MOUNT";
int code = 1;
// Step 1: create the AlarmSystemInterface using the factory
auto_ptr<AlarmSystemInterface> alarmSource = AlarmSystemInterfaceFactory::createSource();
// Step 2: create the FaultState using the factory
auto_ptr<FaultState> fltstate = AlarmSystemInterfaceFactory::createFaultState(family, member, code);
// Step 3: set the fault state's descriptor
string stateString = faultState::ACTIVE_STRING;
fltstate->setDescriptor(stateString);
// Step 4: create a Timestamp and use it to configure the FaultState
Timestamp * tstampPtr = new Timestamp();
auto_ptr<Timestamp> tstampAutoPtr(tstampPtr);
fltstate->setUserTimestamp(tstampAutoPtr);
// Step 5: create a Properties object and configure it, then assign to the FaultState
Properties * propsPtr = new Properties();
propsPtr->setProperty(faultState::ASI_PREFIX_PROPERTY_STRING, "prefix");
propsPtr->setProperty(faultState::ASI_SUFFIX_PROPERTY_STRING, "suffix");
propsPtr->setProperty("TEST_PROPERTY", "TEST_VALUE");
auto_ptr<Properties> propsAutoPtr(propsPtr);
fltstate->setUserProperties(propsAutoPtr);
// Step 6: push the FaultState to the alarm server
FaultState stateToPush(*fltstate);
alarmSource->push(stateToPush);

---
Java API - AcsAlarmSystemInterfaceFactory
import alma.alarmsystem.source.ACSFaultState;
import alma.alarmsystem.source.ACSAlarmSystemInterface;
import alma.alarmsystem.source.ACSAlarmSystemInterfaceFactory;
public static ACSAlarmSystemInterface createSource()
throws ACSASFactoryNotInitedEx, SourceCreationErrorEx;
public synchronized static ACSAlarmSystemInterface createSource(
String sourceName)
throws ACSASFactoryNotInitedEx, SourceCreationErrorEx;
public synchronized static ACSFaultState createFaultState()
throws ACSASFactoryNotInitedEx, FaultStateCreationErrorEx;
public static ACSFaultState createFaultState(
String family,
String member,
int code)
throws ACSASFactoryNotInitedEx, FaultStateCreationErrorEx;
...

---
Java API - AcsAlarmSystemInterface
...
public void push(ACSFaultState state);
public void push(Collection states);
public void pushActiveList(Collection active);
...

---
Java API - AcsFaultState
public final static String ACTIVE = "ACTIVE";
public final static String TERMINATE = "TERMINATE"
...
public void setDescriptor(String descriptor);
public void setUserProperties(Properties properties);
public void setUserTimestamp(Timestamp timestamp);
...

---
C++ API - AcsAlarmSystemInterfaceFactory
#include "ACSAlarmSystemInterfaceFactory.h"
#include "AlarmSystemInterface.h"
#include "FaultState.h"
#include "faultStateConstants.h"
static auto_ptr<AlarmSystemInterface> createSource(string sourceName);
static auto_ptr<AlarmSystemInterface> createSource();
static auto_ptr<acsalarm::FaultState>createFaultState(
string family,
string member,
int code);
static auto_ptr<acsalarm::FaultState>createFaultState();

---
C++ API - AcsAlarmSystem
...
virtual void push(FaultState & state); //raises ASIException = 0;
virtual void push(vector<FaultState> & states); // raises ASIException = 0;
virtual void pushActiveList(vector<FaultState> & activeFaults);
...

---
C++ API - FaultState
...
void setDescriptor(const string & newDescriptor);
virtual void setUserProperties(auto_ptr<Properties> theProperties);
virtual void setUserTimestamp(auto_ptr<Timestamp> theTimestamp);
...

---
CDB configuration
Properties of the AS
Complete definition of each alarm
(KEY: triplet)
List of all the tripletes
Definition of the categories (NC)
The sources
(only ALARM_SYSTEM_SOURCES)
Assign alarms to category
<Category, triplet>
Reduction rules
<triplet, triplet>
CDB
MACI
alma
Alarms
ReductionsDefinitions
List
AlarmDefinitions
SourceDefinitions
CategoryDefinitions
AlarmCategoryDefinitions
AlarmSystemConfiguration

---
CDB population
Write all the triplets
List/List.xml
Write the sources (now only ALARM_SYSTEM_SOURCES)
SourceDefinitions/SourceDefinitions.xml
Write the definition of each alarm: require the triplet and the (only one) source
AlarmDefinitions/<fault_member>/<fault_member>.xml
Write the definition of the categories
CategoryDefinitions/CategoryDefinitions.xml
Assign alarms to categories: require the triplet and the category name
AlarmCategoryDefinitions/AlarmCategoryDefinitions.xml
Define the reduction rules: require the triplets	ReductionDefinitions/ReductionDefinitions.xml

---
CDB - AlarmSystemConfiguration
Alarms/AlarmSystemConfiguration/AlarmSystemConfiguration.xml
<alarm-system-configuration ... >
  <configuration-property name="Implementation">
    CERN
  </configuration-property>
</alarm-system-configuration>

---
CDB - List
Alarms/List/List.xml
<alarm-definition-list... >
..
<alarm-definition
fault-family="AlarmSource"
fault-member="ALARM_SOURCE_PS"
fault-code="1" />
...
</alarm-definition-list>

---
CDB - SourceDefinitions
Alarms/SourceDefinitions/SourceDefinitions.xml
<source-definitions ...>
<sources-to-create>
<source-definition name="ALARM_SYSTEM_SOURCES">
<connection-timeout>15</connection-timeout>
<description>The alarm source for all the sources</description>
<responsible-id>1</responsible-id>
</source-definition>
</sources-to-create>
</source-definitions>

---
CDB - AlarmDefinitions
Alarms/AlarmDefinitions/<FM>/<FM>.xml
<alarm-definition-list ...>
  <alarm-definition fault-family="AlarmSource" fault-member="ALARM_SOURCE_MOUNT" fault-code="1">
<visual-fields>
<system-name></system-name>
<identifier></identifier>
<problem-description></problem-description>
</visual-fields>
<instant>false</instant>
<!--cause></cause-->
<!--action></action-->
<!--consequence></consequence-->
<priority>1</priority>
<responsible-id>123</responsible-id>
<!--piquetGSM>12345</piquetGSM-->
<!--help-url></help-url-->
<source-name>ALARM_SYSTEM_SOURCES</source-name>
<!--location>
<building></building>
<floor></floor>
<room></room>
<mnemonic></mnemonic>
<position></position>
</location-->
<!--piquetEmail></piquetEmail-->
</alarm-definition>
</alarm-definition-list>

---
CDB - CategoryDefinitions
Alarms/CategoryDefinitions/CategoryDefinitions.xml
<category-definitions ...>
<categories-to-create>
...
<category-definition path="ROOT:SOURCE">
<description>
The category for all alarm states.
</description>
</category-definition>
...
</categories-to-create>
</category-definitions>

---
CDB - AlarmCategoryDefinitions
Alarms/AlarmCategoryDefinitions/AlarmCategoryDefinitions.xml
<alarm-category-definitions
xmlns="urn:schemas-cosylab-com:AcsAlarmSystem:1.0"
xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">
<category-links-to-create>
...
<alarm-category-link>
<category>
<category-definition path="ROOT:SOURCE"/>
</category>
<alarm>
<alarm-definition
fault-family="AlarmSource"
fault-member="ALARM_SOURCE_A"
fault-code="1"/>
</alarm>
</alarm-category-link>
...
</category-links-to-create>
</alarm-category-definitions>

---
CDB - ReductionDefinitions
Alarms/ReductionDefinitions/ReductionDefinitions.h
<reduction-definitions ...>
...
<links-to-create>
<reduction-link type="NODE">
<parent>
<alarm-definition fault-family="FF1" fault-member="FM1" fault-code="1"/>
</parent>
<child>
<alarm-definition fault-family="FF2" fault-member="FM2" fault-code="1"/>
</child>
</reduction-link>
...
</links-to-create>
<thresholds>
...
<threshold value="2">
<alarm-definition fault-family="FF3" fault-member="FM3" fault-code="1"/>
</threshold>
...
</thresholds>
</reduction-definitions>

---
CDB – ReductionDefinitions - NR
Alarms/ReductionDefinitions/ReductionDefinitions.h
<reduction-link type="NODE">
<parent>
<alarm-definition fault-family="AlarmSource" fault-member="ALARM_SOURCE_PS" fault-code="1"/>
</parent>
<child>
<alarm-definition fault-family="AlarmSource"
fault-member="ALARM_SOURCE_MOUNT" fault-code="1"/>
</child>
</reduction-link>
<reduction-link type="NODE">
<parent>
<alarm-definition fault-family="AlarmSource"
fault-member="ALARM_SOURCE_MOUNT" fault-code="1"/>
</parent>
<child>
<alarm-definition fault-family="AlarmSource"
fault-member="ALARM_SOURCE_ANTENNA" fault-code="1"/>
</child>
</reduction-link>

---
CDB – ReductionDefinitions - MR
Alarms/ReductionDefinitions/ReductionDefinitions.h
<reduction-link type="MULTIPLICITY">
<parent>
<alarm-definition fault-family="AlarmSource" fault-member="MULTIPLE_MF_FAILURES" fault-code="1"/>
</parent>
<child>
<alarm-definition fault-family="AlarmSource" fault-member="ALARM_SOURCE_MF" fault-code="1"/>
</child>
</reduction-link>
<reduction-link type="MULTIPLICITY">
<parent>
<alarm-definition fault-family="AlarmSource" fault-member="MULTIPLE_MF_FAILURES" fault-code="1"/>
</parent>
<child>
<alarm-definition fault-family="AlarmSource" fault-member="ALARM_SOURCE_MF" fault-code="2"/>
</child>
</reduction-link>
...
<thresholds>
<threshold value="3">
<alarm-definition fault-family="AlarmSource" fault-member="MULTIPLE_MF_FAILURES" fault-code="1"/>
</threshold>
</thresholds>

---
References
http://www.eso.org/projects/alma/develop/acs/OnlineDocs/AlarmSystem.pdf
http://proj-laser.web.cern.ch/proj%2Dlaser/ (Laser documentation)
http://lhc-cp.web.cern.ch/lhc%2Dcp/ (LHC project)
CDB schema:
ACS/LGPL/CommonSoftware/acsalarmidl/ws/config/CDB/schemas/AcsAlarmSystem.xsd
Examples in
ACS/LGPL/CommonSoftware/ACSLaser/demo

---
ACS alarm system
Questions ?

---
Exercise
Three components:
PS: composed of three generators
MOUNT
ANTENNA
A failure in PS
generates 3 alarms, one per generator
then triggers a failure in MOUNT that sends another alarm
a failure in MOUNT triggers a failure in ANTENNA that sends the last alarm
The triggering of failure is simulated by means of IDL methods (already implemented)
Define the triplets for the tree generators, the MOUNT and the ANTENNA alarms
Send the alarms (ACTIVE/INACTIVE) and check if they work in ACS implementation (log)
Configure the CDB and check the alarms with the alarm GUI
Define the reduction rule in order to see only the root cause of the problem

---
A possible solution
<PowerSupplies,ALARM_COURSE_PS,1>
<PowerSupplies,ALARM_COURSE_PS,2>
<PowerSupplies,ALARM_COURSE_PS,3>
<MOUNT,ALARM_COURSE_MOUNT,1>
<ANTENNA,ALARM_COURSE_ANTENNA,1>